Carter Lake

Water Quality Goals

1/10/2007

Goal 1.  Achieve A “Full Support” Status For The Aquatic Life Use

Objective 1:  Increase growing season median water clarity from 16 inches to 30 inches

Objective 2:  Reduce growing season in-lake total phosphorus from 153ug/l to 75ug/l.

Objective 3:  Reduce growing season in-lake total nitrogen from 2,140ug/l to 409ug/l.

Objective 4:  Decrease growing season median chlorophyll a concentrations from 59mg/m3 to 21mg/m3.

Objective 5:  Maintain water column average dissolved oxygen above 5.0mg/l through out the year.

# Goal 2.  Reduce Contaminant Levels In Fish To “Safe” Levels

Objective 6:  Reduce and maintain contaminant levels below water quality standards in the Carter Lake inflows.

# Goal 3.  Maintain A “Full Support” Status For The Recreation Use

Objective 7:  Maintain E.coli bacteria concentrations below 235 col./100mls during the recreation season.

Objective 8:  Maintain algae toxin concentrations below 7 ppb for all 22 weeks of the recreation season and prevent level of algal toxins above 20 ppb in any measurement.

# Goal 4.  Maintain A “Full Support” Status For The Aesthetic Use

Objective 9:  Keep the lake and park area free of trash and junk.

Objective 10:  Stabilize areas of eroding shoreline.